# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: EGYPT If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Egyptian Organization for Standardization and Quality 16 Tadreeb El-Modarrebeen St., Ameriya, Cairo – Egypt E-mail: eos@eos.org.eg / eos.tbt@eos.org.eg Website: http://www.eos.org.eg Tel.: + (202) 22845528 Fax: + (202) 22845504 Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Luminaires (ICS code(s): 29.140.40) |
| 5. | Title, number of pages and language(s) of the notified document: Draft of Egyptian standard ES: 7825 "luminaries –General requirements and tests"; (289 page(s), in English) |
| 6. | Description of content: This draft of Egyptian standard ES 7825 specifies general requirements for luminaires, incorporating electric light sources for operation from supply voltages up to 1 000 V. The requirements and related tests of this document cover: classification, marking, mechanical construction, electrical construction and photobiological safety. Each section of this standard is read in conjunction with this Section 0 and with other relevant sections to which reference is made. Each part of IEC 60598-2(Or the corresponding Egyptian standard) details requirements for a particular type of luminaire or group of luminaires on supply voltages not exceeding 1 000 V. These parts are published separately for ease of revision and additional sections will be added as and when a need for them is recognized. The presentation of photometric data for luminaires is under consideration by the International Commission on Illumination (CIE) and is not, therefore, included in this standard. Requirements are included in this standard for luminaires incorporating ignitors with nominal peak values of the voltage pulse not exceeding those of Table 11.2. The requirements apply to luminaires with ignitors built into ballasts and to luminaires with ignitors separate from ballasts. For luminaires with ignitors built into lamps, the requirements are under consideration. Requirements for semi-luminaires are included in this standard. In general, this standard covers safety requirements for luminaires. The object of this standard is to provide a set of requirements and tests which are considered to be generally applicable to most types of luminaires and which can be called up as required by the detail specifications of IEC 60598-2. This standard is thus not regarded as a specification in itself for any type of luminaire, and its provisions apply only to particular types of luminaires to the extent determined by the appropriate part of IEC 60598-2. The parts of IEC 60598-2, in making reference to any of the sections of this standard, specify the extent to which that section is applicable and the order in which the tests are performed; they also include additional requirements as necessary. The order in which the sections of this standard are numbered has no particular significance as the order in which their provisions apply is determined for each type of luminaire or group of luminaires by the appropriate part of IEC 60598-2. All parts of IEC 60598-2 are self-contained and therefore do not contain references to other parts of IEC 60598-2. Where the requirements of any of the sections of this standard are referred to in the parts of IEC 60598-2 by the phrase "The requirements of section... of IEC 60598-1 apply", this phrase is interpreted as meaning that all the requirements of that section of this standard apply except those which are clearly inapplicable to the particular type of luminaire covered by that part of IEC 60598-2. For explosion proof luminaires, as covered by IEC 60079, the requirements of IEC 60598 (selecting the appropriate parts 2) are applied in addition to the requirements of IEC 60079. In the event of any conflict between IEC 60598 and IEC 60079, the requirements of IEC 60079 take priority. Improvements in safety to take into account the state of the art technology are incorporated in the standards with revisions and amendments on an ongoing basis. Regional standardization bodies can include statements in their derived standards to cover products which have complied with the previous document as shown by the manufacturer or standardization body. The statements may require that for such products, the previous standard may continue to apply to production until a defined date after which the new standard shall apply. Worth mentioning is that this draft standard is technically identical with IEC 60598-1/2020. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Safety and quality requirements.; Protection of human health or safety; Quality requirements |
| 8. | Relevant documents: IEC 60598-1/2020 |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: To be determined |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Egyptian Organization for Standardization and Quality Address: 16 Tadreeb El-Modarrebeen St., Ameriya, Cairo- Egypt E-mail: eos@eos.org.eg / eos.tbt@eos.org.eg Website: http://www.eos.org.eg Tel: + (202) 22845528 Fax: + (202) 22845504 |