NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: BURUNDI, KENYA, RWANDA, TANZANIA, UGANDA If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Rwanda Standards Board (RSB) KK 15 Rd, 49 P.O.BOX 7099, Kigali, Rwanda Tel: +250 788303492 Email: info@rsb.gov.rw Website: www.rsb.gov.rw Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Plugs, socket-outlets, couplers (ICS code(s): 29.120.30) |
| 5. | Title, number of pages and language(s) of the notified document: DEAS 495-4: 2024, Plugs, socket-outlets, adaptors, and connection units — Part 4: fused connection units: Switched and unswitched; (78 page(s), in English) |
| 6. | Description of content: This part of EAS 495 specifies requirements of up to 13 A fused fixed connection units for household, commercial and light industrial purposes, with particular reference to safety in normal use. The connection units are suitable for the connection of appliances, in a.c. circuits only, operating at voltages not exceeding 250 V r.m.s at 50 Hz. Requirements are specified for connection units incorporating a fuse-link complying with EAS 496. Requirements are specified for 13 A connection units with or without associated controlling switches, for flush mounting in suitable enclosures, e.g. boxes complying with EAS 203, or for surface or panel mounting. Connection units are intended for use with cables complying with IEC 60227 having copper conductors. Connection units with card outlets are additionally intended for use with flexible cords, complying with IEC 60245 or IEC 60227on the load (output) side. This standard does not apply to connection units incorporating screwless terminals for the connection of external conductors of the following types: a) flat quick-connect terminals; b) insulation-piercing connecting devices; and c) twist-on connecting devices. Certain installations require the inclusion of intumescent and acoustic pads and this might have an effect on the conformance of the connection unit to the requirements of this standard. This might influence temperature rise and internal clearances. Verification of suitability of the connection unit needs to be obtained from the manufacturer. NOTE 1 The titles of the publications referred to in this standard are listed on the inside back cover. NOTE 2 Requirements for electromagnetic compatibility are not given for the following reasons. A connection unit does not emit intolerable electromagnetic interference since significant electromagnetic disturbances are only generated during insertion and withdrawal which are not continuous. A connection unit is mechanical by nature of construction. The product is therefore immune from electromagnetic interference. This standard applies to all connection Units in East African Region |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: National security requirements; Prevention of deceptive practices and consumer protection; Protection of human health or safety; Protection of the environment; Quality requirements; Harmonization; Cost saving and productivity enhancement |
| 8. | Relevant documents: - EAS 496, General purpose fuse links for domestic and similar purposes (primarily for use in plugs) ⎯Specification - IEC 60112, Method for the determination of the proof and the comparative tracking indices of solid insulating materials - ISO 9453, Soft solder alloys ⎯ Chemical compositions and forms - EAS 495-1, 13 A plugs, socket-outlets, adaptors and connection units — Part 1: Specification for rewirable and non-rewirable 13 A fused plugs. - EAS 495-2, 13A plugs, socket-outlets, adaptors arid connection units — Part 2: Specification for 13A switched and unswitched socket-outlets - EAS 495-3, 13 A plugs, socket-outlets, adaptors and connection units — Part 3: Specification for adaptors - EAS 203, Boxes for enclosure of electrical accessories — Specification - IEC 60227-5, Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V ⎯Part 5: Flexible cables (cords) - IEC 60245-4 Rubber insulated cables - Rated voltages up to and including 450/750 V - Part 4: Cords and flexible cables - IEC 60245-8:1998+AMD1:2003+AMD2:2011 Rubber insulated cables - Rated voltages up to and including 450/750 V - Part 8: Cords for applications requiring high flexibility - IEC 60695-2-10, Fire Hazard testing ⎯ Part 2-10: Glowing/hot-wire based test methods ⎯ Glow-wire apparatus and common test procedure - EAS 370, Test probes to verify protection by enclosure |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: To be determined |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [ ] or address, telephone and fax numbers and email and website addresses, if available, of other body: Mr. Johnny Uwimana Hassan WTO/TBT Enquiry point Rwanda Standards Board KK 15 Rd, 49 Kigali Tel: Hotline: 3250; +(250) 788636510 Fax: +(250)788303492 Email: info@rsb.gov.rw; johnny.uwimana@rsb.gov.rw Website: http://www.rsb.gov.rw https://members.wto.org/crnattachments/2025/TBT/RWA/25_00128_00_e.pdf |