# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: BOTSWANA If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Botswana WTO-TBT Enquiry Point Botswana Bureau of Standards Private Bag BO 48 Gaborone Botswana Tel: (+267) 3903200 Fax: (+267)3903120 Toll Free Number: (0800 600 900) Email: enquiries@bobstandards.bw |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: |
| 4. | Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Ventilation and air-conditioning systems (ICS code(s): 91.140.30) |
| 5. | Details of notified document(s) (title, number of pages and languages, means of access): BOS SADC HT 110:2023 Minimum energy performance standards for air conditioners; (36 page(s), in English) Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: http://www.bobstandards.bw enquires@bobstandards.bw Botswana Bureau of standards Information centre TEL: +267 3903200/3645604 |
| 6. | Description of content: This harmonized standard applies to all new electrical non-ducted single-split, self-contained air-cooled air conditioners, air-to-air reversible heat pumps, and portable air conditioners, with a rated cooling output of at or below 16 kilo-Watts (kW)1 placed on the market for any application. Air conditioners with a rated cooling output exceeding 16 (kW)1, water-cooled air conditioners, water-source heat pumps, multi-split air conditioners, multi-split air-to-air heat pumps, variable refrigerant flow systems, and ducted equipment as well as non-electric energy sources are exempt from this standard. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: National security requirements; Protection of human health or safety; Quality requirements; Harmonization; Reducing trade barriers and facilitating trade |
| 8. | Relevant documents: ISO 16358-1:2013, Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors – Part 1: Cooling seasonal performance factor ISO 16358-2:2013, Air-cooled air conditioners and air-to-air heat pumps — Testing and calculating methods for seasonal performance factors — Part 2: Heating seasonal performance factor. ISO 16358-3:2013, Air-cooled air conditioners and air-to-air heat pumps — Testing and calculating methods for seasonal performance factors — Part 3: Annual performance factor. ISO 5151:2017, Non-ducted air conditioners and heat pumps – Testing and rating for performance ISO 18326:2018, Non-ducted portable air-cooled air conditioners and air-to-air heat pumps having a single exhaust duct – Testing and rating for performance IEC 60335-2-40:2018, Household and similar electrical appliances – Safety – Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers. ISO 817:2014, Refrigerants - Designation and safety classification. ANSI/ASHRAE 15-2019, Safety standard for refrigeration systems and designation and classification of refrigerants ANSI/ASHRAE 34-2019, Designation and safety classification of refrigerants ISO 5149:2017, Refrigerating systems and heat pumps — Safety and environmental requirements. Handbook for the Montreal Protocol on Substances that Deplete the Ozone Layer, Twelfth Edition, annexes A, B, C, and F. |
| 9. | Proposed date of adoption: immediately Proposed date of entry into force: already in force |
| 10. | Provision of comments Final date for comments: Not Applicable [ ] 60 days from notification Contact details of agency or authority designated to handle comments regarding the notification: Botswana Bureau of Standards Nametso Moilwa Senior Documentation and Information Officer Physical address: Plot no: 55745 Block 8. Airport Road. Postal address: Botswana Bureau of Standards Private Bag BO48 Gaborone Tel: +267 3903200/3645604 Fax: +(267) 390 3120 Email: enquiries@bobstandards.bw; moilwa@bobstandards.bw Website: http://www.bobstandards.bw |