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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: UGANDA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Uganda National Bureau of Standards
Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park
P.O. Box 6329
Kampala, Uganda
Tel: +(256) 4 1733 3250/1/2
Fax: +(256) 4 1428 6123
E-mail: info@unbs.go.ug
Website: https://www.unbs.go.ug

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Thermometers and pyrometers, not combined with other instruments (excl. liquid-filled thermometers for direct reading) (HS code(s): 902519); Diagnostic equipment (ICS code(s): 11.040.55); Infrared Thermometers 

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): DUS 2299:2026, Standard Specification for Infrared Thermometers for Intermittent Determination of Patient Temperature; Second Edition; (17 page(s), in English)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 

	6.
	Description of content: This Draft Uganda Standard specifies the requirements and test methods for infrared thermometers intended for the intermittent determination of patient body temperature.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Consumer information, labelling; Prevention of deceptive practices and consumer protection; Protection of human health or safety; Quality requirements; Reducing trade barriers and facilitating trade

	8.
	Relevant documents: 
1. E177 Practice for Use of the Terms Precision and Bias in ASTM Test Methods
2. E344 Terminology Relating to Thermometry and Hydrometry
3. E667 Specification for Mercury-in-Glass, Maximum Self-Registering Clinical Thermometers (Withdrawn 2022)
4. E1112 Specification for Electronic Thermometer for Intermittent Determination of Patient Temperature
5. IEC 601-1-2:1993 Medical Electrical Equipment, Part 1; General Requirements for Safety. Collateral Standard: Electromagnetic Compatibility—Requirements and Tests
6. IEC 1000-4-2:1995 Electromagnetic Compatibility (EMC)—Part 4: Testing and Measurement Techniques; Section 2: Electrostatic Discharge Immunity Test: Basic EMC Publication (Rev. of IEC 801-2)
7. IEC 1000-4-3:1995 Electromagnetic Compatibility
8. International Vocabulary of Basic and General Terms in Metrology (VIM)
Relevant notifications:
· G/TBT/N/UGA/1289
· G/TBT/N/UGA/1289/Add.1
· G/TBT/N/UGA/1289/Add.2

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: To be determined

	10.
	Provision of comments
Final date for comments: 2 October 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
Uganda National Bureau of Standards
Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park
P.O. Box 6329
Kampala, Uganda
Tel: +(256) 4 1733 3250/1/2
Fax: +(256) 4 1428 6123
E-mail: info@unbs.go.ug
Website: https://www.unbs.go.ug
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